| Intergovernmental Oceanographic | World |
| --- | --- |
| Commission of UNESCO | Meteorological Organization |

DATA BUOY COOPERATION PANEL

GUIDE TO BUOY DATA QUALITY CONTROL TESTS TO PERFORM IN REAL TIME BY A GTS DATA PROCESSING CENTER

DBCP Technical Document No. 37

| Intergovernmental Oceanographic | World |
| --- | --- |
| Commission of UNESCO | Meteorological Organization |

DATA BUOY CO-OPERATION PANEL

GUIDE TO BUOY DATA QUALITY CONTROL TESTS TO PERFORM IN REAL TIME BY A GTS DATA PROCESSING CENTER

DBCP Technical Document No. 37

DRAFT FOR REVIEW

Version 1.1 2009

CONTENTS

1.	PREFACE	2

2.	BACKGROUND AND AUDIENCE FOR THIS DOCUMENT	2

3.	Version Tracking	2

4.	INTRODUCTION	3

4.1.	Overview of the Global Telecommunications System	3

4.2.	WMO Identifier numbers	4

4.3.	Platforms types and GTS message types	4

4.4.	Variables measured by Sensors	7

5.	DATA PROCESSING	12

6.	Real Time Quality Control Checks	12

6.1.	Tests made for the whole observation	12

6.2.	Tests made for each individual sensor	14

7.	ON-LINE ACCESS TO DATA	18

7.1.	Satellite Telecommunications Service provider	18

7.2.	Over the Global Telecommunication System (GTS)	18

7.3.	Data Archival Centres	18

8.	DELAYED MODE QUALITY CONTROL GUIDELINES	18

ANNEX I:	Useful weblinks, and references	20

ANNEX II:	Contacts	21

ANNEX III:	Acronyms	22

Table 1: Observational Requirements (Climate)	1

Table 2: Observational Requirements (Global NWP)	2

Table 3: Recommended gross error checks for typical marine variables	5

# PREFACE

Words from the Chair of the DBCP or from the Chair of the TT-IBPDTD ??

# BACKGROUND AND AUDIENCE FOR THIS DOCUMENT

This report aims to summarise the Quality Control processes which need to be considered and followed by centres which plan to distribute drifting and moored buoy measurements, in real time, on the Global Telecommunications System (GTS) of WMO.

It is assumed that the reader already has an extensive knowledge of the satellite systems being used to communicate between the platform and the ground station and their own data processing system. It is also assumed that the Global Telecommunications System (GTS) of WMO is understood.

This document draws on content from DBCP Technical Document No.2, DBCP Technical Document No. 3, and the Argos User’s Manual (http://www.cls.fr  & http://www.argos-system.org/manual/), was compiled in August 2009 by the Technical Coordinator of the DBCP, Ms Hester Viola, and reviewed by DBCP experts at the 25th Session of the DBCP.

# Version Tracking

| Date | Modification | Who | Version |
| --- | --- | --- | --- |
| August 2009 | Draft created | Hester Viola | 1.0 |
| August 2009 | Reviewed by WMO Secretariat | Etienne Charpentier | 1.1 |
| September 2010 | Accepted modifications by WMO Secretariat for review by the DBCP | Hester Viola | 1.1 |

# INTRODUCTION

This document aims to explain the elements to be considered by a data processing center wishing to share marine or ocean data from drifting and moored buoys, in real-time, on the Global Telecommunications System of the World Meteorological Organization (WMO). There is a requirement for real-time quality control checks on all data before it is distributed onto the GTS. The various real-time quality control tests which should be implemented are explained.

This document should be useful for data processing centers which have direct access to data coming from a satellite telecommunications system being used by data buoys. Setting up these tests for individual buoys usually relies upon direct contact with the Platform operators. The data processing center will need to have already established a link to a GTS uplink node.

## Overview of the Global Telecommunications System

The Global Telecommunication System (GTS), is a network run by the World Meteorological Organization (WMO), to facilitate real-time data exchange between national meteorological, hydrological and oceanographic centers.

Operational meteorologists rely on real-time data to run their numerical prediction models. The land station network is dense and the data of good quality, but there is not enough data from the oceans, particularly in data-sparse areas not covered by commercial ships reporting weather data.

It is coordinated by the World Meteorological Organization (WMO) and is part of the WMO Information System (WIS). The data are formatted using WMO GTS code formats such as FM-18 BUOY or FM-94 BUFR.

GTS bulletins containing GTS messages coded according to WMO regulations are then produced and sent in real time via the GTS to operational meteorological and oceanographic centres.

Sensor data measured at the same time for the same platform are grouped and encoded into single GTS reports (i.e. Observations or groups of observations). GTS reports encoded using the same WMO code format are grouped into what are known as bulletins. Bulletins need to be transmitted directly from the processing centre to a GTS uplink node for dissemination over the GTS.

The following GTS code formats can be used for GTS distribution of ocean data:

FM 18-XII BUOY	Report of a buoy observation,

FM 12-XII Ext. SYNOP	Report of surface observation from a land station,

FM 13-XII Ext. SHIP	Report of surface observation from a sea station, or mooring

FM 63-XI Ext. BATHY	Report of a bathythermal observation,

FM 64-XI Ext. TESAC	Temperature, salinity and current report from a sea station,

FM 94-XIII Ext.BUFR 	Binary universal form for the representation of meteorological data. It can be used to encode data from any type of observing platform, including buoys. BUFR encoding and decoding needs to be supported by any data processing center wanting to send data to the GTS. This data format will be standard after 2012 for the GTS and the WIS  - using appropriate templates dedicated to specifc observational platforms as developed by the user community.

BUFR is basically a self defining binary code for exchanging meteorological data. A BUFR "message" is a contiguous binary stream composed of 6 sections. Section 0 contains the coded characters "BUFR" and Section 5 the coded characters "7777" indicating the beginning and the end of a BUFR message. Section 1, Identification Section, contains information about the contents of the data, such as type of data, time of data and whether or not the optional Section 2 is included in the message. Section 3 contains the description of the data that is represented in Section 4. Standard BUFR descriptors defined in BUFR tables B, C and D are used for that purpose. The marine meteorological and oceanographic community has developed standard templates to report ocean platform data (and metadata) in BUFR.

Bulletins will be identified by BUFR specific headers. Examples are given in section 4.3.1 below.

Refer to the WMO Manual on Codes, Volume 1, International Codes, WMO No 306, Part B - Binary codes - for details (see Annex I for references)

BUFR encoding and/or decoding software can be obtained free of charge from a number of sources (see Annex I).

## WMO Identifier numbers

Individual drifting buoys and other platforms are identified by platform identifiers (Argos ID for a PTT or PMT, Iridium Modem number IMEI etc). In addition, when data from these platforms are intended for transmission through the GTS, another identifier called "WMO international buoy identifier number" - A1bwnbnbnb is used as an identifier for the platform in the data system. Buoys normally use 5-digit identifiers with nbnbnb in the range 000 to 499 being used for moored buoys, and nbnbnb in the range 500 to 999 for drifting buoys. Five-digit numbers can be used for the reporting in BUOY and BUFR formats. Seven-digit numbers in the form A1bwnbnbnbbnb can also be allocated to buoys (nbnbnbbnb mod 1000 in the range 000 to 499 for moored buoys; and nbnbnbbnb mod 1000 in the range 500 to 999 for drifting buoys) but those can only be used for the reporting of the data in BUFR.

For the allocation of these identifiers Platform Operators must have the number of their platform (or modem) and request the WMO number from National Focal Point for Buoy Programmes (see list of such contact points from the web link below). Please contact the Technical Coordinator of the Data Buoy Cooperation Panel for details or assistance (contacts in Annex II).

The platform operator should be able to suspend or cancel the GTS dissemination at any time.

For more information see : http://www.jcommops.org/wmo_numbers.html

## Platforms types and GTS message types

Until 1 November 1991, the WMO code format used for GTS distribution of drifting buoy data was FM 14-VII DRIBU. It was then replaced by FM 18-IX Ext. DRIFTER until 2 November 1994. Since then, the formal WMO code used for drifting buoys has been FM 18 BUOY (current version is FM 18-XII BUOY). The WMO is encouraging the migration of all data on the GTS to FM-94 BUFR - Binary Universal Form for the Representation of Meteorological Data by 2012.

GTS reports are embedded within GTS bulletins identified by GTS bulletin headers to make sure they reach the right operational centres.

For example, GTS bulletin hearders have the following general form:

T1T2A1A2ii CCCC YYGGgg [BBB]

Where:

T1T2	Data Type Designator,

A1A2	Geographical Designator,

ii	Level or Deployment area,

CCCC	GTS Originating Centre,

YYGGgg	Time of bulletin: Day in the month (YY), Hour (GG) and Minutes (gg),

BBB	For additions, corrections, amendments of a bulletin issued previously with the same header.

Refer to the WMO Publication No. 386, Manual on the Global Telecommunication System (GTS), Part II, and Attachments II-4 and II-5 for details regarding the exact formatting of GTS bulletins, and GTS bulletin headers. The Manual can be downloaded from the WMO web site (see Annex I).

### Drifting Buoys (including ice buoys)

Experimental transmission of Buoy data via the Argos data processing system in BUFR started during 2003 and was validated for operational commencement by July 2003.

It is expected that all buoys which are now reporting on the GTS in FM 18-X BUOY format will now be reporting in both formats, i.e. BUOY and BUFR.

Buoy data will continue to be distributed in BUOY format until at least 2012 after which point GTS data processing centers will only send BUFR messages.

GTS bulletin headers used for distribution of drifter data in BUOY format normally use the following GTS bulletin headers:

T1T2 = “SS”

A1A2 = “VX”

ii = value to be discussed with the Technical Coordinator of the DBCP. Current list of GTS bulletin headers can be found at : http://www.jcommops.org/dbcp/1gbh.html

GTS bulletin headers used for the distribution of drifter data in BUFR format normally have the following form:

T1T2 = IO

A1A2 = ZX

ii = value to be discussed with the Technical Coordinator of the DBCP. Current list of GTS bulletin headers can be found at : http://www.jcommops.org/dbcp/1gbh.html

e.g.

•	"IOZXii LFPW" for the bulletins issued from the FRGPC, Toulouse, France

•	"IOZXii KARS" for the bulletins issued from the USGPC, Largo, USA

Values for ii will remain the same as for the BUFR bulletin headers used for GTS distribution of the data in BUOY format. So for example data normally distributed in BUOY code under "SSVX02 KARS" will also be distributed in BUFR under "IOZX02 KARS".

### Moored buoys

The WMO code used for GTS distribution of moored buoy data is FM 18-X BUOY or FM 13-X SHIP (for bulky data sets). This data must be sent in BUFR format from 2012 onwards.

Refer to the WMO Publication No. 386 for details regarding the exact formatting of GTS bulletins, and GTS bulletin headers (see Annex I for accessing the Publication). Normally, A1A2 will depend upon geogaphical area where the buoy is deployed.

## Variables measured by Sensors

The variables measured by the data buoys generally include one or more of the following elements:

- Atmospheric pressure,

- Atmospheric pressure tendency,

- Wind speed,

- Wind direction,

- Air temperature,

- Sea-surface temperature,

- Sub-surface temperatures,

- Sea surface salinity,

- Sub-surface salinity,

- Rainfall

- Wave period and height

- Relative Humidity.(Moorings only)

- Down-welling Radiation (Moorings only)

- Currents from buoys

    - Since the location of the drifting buoy is also measured or calculated, sea surface currents can be derived, provided that the buoy is a drogued lagrangian drifter.

    - measured with Doppler Current meter or Acoustic Doppler Current Profiler for moorings

- Other Biogeochemical elements (CO2, O2,Fluorescence etc)

Environmental observations required in support of meteorological and oceanographic services and research are discussed in relevant WMO and IOC publications (see Annex I). In these publications the relative priority of importance of measuring individual parameters is shown to depend to some extent on the user of the data. Clearly, however, atmospheric pressure and wind speed and direction are of utmost importance to weather forecasting and analysis. For example, atmospheric pressure cannot be directly observed or measured by Satellite Remote Sensing. Sea-Surface Temperature (SST) is also of importance for weather analysis and forecasting, air-sea interaction and climate prediction, and critical for fisheries, climate studies and other areas. SST data from drifting buoys are being used as ground truth measurements for remote sensing applications. Air temperature is important for air/sea interaction and climate programmes. Observations of waves are important for all types of marine users. Current drift and sub-surface temperatures are very important for improving understanding of oceanographic conditions across the globe.

The requirements for monitoring change in climate have been specified by the Ocean Observations Panel for Climate (of GOOS/GCOS/WCRP), within the context of the Climate Module of the WMO-IOC-UNEP-ICSU Global Ocean Observing System (GOOS). GOOS is also the Ocean Module of the WMO-IOC-UNEP-ICSU Global Climate Observing System (GCOS).

The desirable observational network for climate monitoring purposes was specified in the Final Report of the Ocean Observing Systems Development Panel (OOSDP) in 1995, and revised in the Action Plan for Global Ocean Observations for the GOOS/GCOS in 1998. This and the observational requirements for the Global Climate Observing System atmospheric (AOPC) and ocean (OOPC) components on one hand, and for Global Numerical Weather Prediction on the other hand are listed in Tables 1 and 2 respectively. In those Tables, each requirement is expressed in terms of horizontal resolution, vertical resolution, observing cycle, delay of availability and accuracy with each parameter described in terms of goal, breakthrough (B/T) and threshold (T/H). The spatial and temporal resolution of observations required for climate is coarser than for weather forecasting.

Global Climate Observing Systems (GCOS) atmospheric (AOPC) and ocean (OOPC) requirements

|  |  | Horizontal Resolution |  |  | Vertical Resolution |  |  | Observing Cycle |  |  | Delay of Availability |  |  | Accuracy |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Requirement | Application area | Goal | B/T | T/H | Goal | B/T | T/H | Goal | B/T | T/H | Goal | B/T | T/H | Goal | B/T | T/H |
| Air pressure over sea surface | AOPC | 200 km | 271 km | 500 km |  |  |  | 3 h | 6 h | 24 h | 3 h | 5 h | 12 h | 0.5 hPa | 0.63 hPa | 1 hPa |
| Wind vector over sea surface (horizontal) | OOPC | 50 km | 85 km | 250 km |  |  |  | 12 h | 15 h | 24 h | 720 h | 907 h | 1440 h | 1 m/s | 2 m/s | 5 m/s |
| Air temperature (at surface) | AOPC | 100 km | 171 km | 500 km |  |  |  | 12 h | 15 h | 24 h | 24 h | 30 h | 48 h | 0.2 K | 0.27 K | 0.5 K |
| Sea surface temperature | OOPC | 100 km | 171 km | 500 km |  |  |  | 24 h | 35 h | 72 h | 3 h | 5 h | 12 h | 0.3 K | 0.45 K | 1 K |
| Air specific humidity (at surface) | AOPC | 100 km | 171 km | 500 km |  |  |  | 12 h | 15 h | 24 h | 24 h | 30 h | 48 h | 10 % | 13 % | 20 % |
| Significant wave height | AOPC | 100 km | 136 km | 250 km |  |  |  | 3 h | 4 h | 6 h | 3 h | 5 h | 12 h | 0.5 m | 0.791 m | 2 m |
| Sea-ice cover | OOPC | 15 km | 38 km | 250 km |  |  |  | 1 d | 2 d | 15 d | 30 d | 43 d | 90 d | 5 % (Max) | 11 % (Max) | 50 % (Max) |
| Precipitation rate (liquid) at the surface | AOPC | 1 km | 2 km | 10 km |  |  |  | 3 h | 4 h | 6 h | 24 h | 41 h | 120 h | 0.05 mm/h | 6.30E-02 mm/h | 0.1 mm/h |
| Precipitation rate (solid) at the surface | AOPC | 1 km | 2 km | 10 km |  |  |  | 3 h | 4 h | 6 h | 24 h | 41 h | 120 h | 0.05 mm/h | 6.30E-02 mm/h | 0.1 mm/h |

Table 1: Observational Requirements (Climate)

Global Numerical Weather Prediction requirements

|  |  | Horizontal Resolution |  |  | Vertical Resolution |  |  | Observing Cycle |  |  | Delay of Availability |  |  | Accuracy |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Requirement | Application area | Goal | B/T | T/H | Goal | B/T | T/H | Goal | B/T | T/H | Goal | B/T | T/H | Goal | B/T | T/H |
| Air pressure over sea surface | Global NWP | 50 km | 85 km | 250 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 0.5 hPa |  | 2 hPa |
| Wind vector over sea surface (horizontal) | Global NWP | 50 km | 85 km | 250 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 0.5 m/s |  | 5 m/s |
| Air temperature (at surface) | Global NWP | 50 km | 85 km | 250 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 0.5 K |  | 2 K |
| Sea surface temperature | Global NWP | 50 km | 85 km | 250 km |  |  |  | 3 h | 15 h | 360 h | 3 h | 12 h | 180 h | 0.5 K |  | 2 K |
| Air specific humidity (at surface) | Global NWP | 50 km | 85 km | 250 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 5 % |  | 15 % |
| Significant wave height | Global NWP | 100 km | 136 km | 250 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 0.5 m |  | 1 m |
| Sea-ice cover | Global NWP | 15 km | 38 km | 250 km |  |  |  | 1 d | 2 d | 15 d | 1 d | 2 d | 7 d | 5 % (Max) |  | 50 % (Max) |
| Precipitation rate (liquid) at the surface | Global NWP | 50 km | 63 km | 100 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 0.1 mm/h |  | 1 mm/h |
| Precipitation rate (solid) at the surface | Global NWP | 50 km | 63 km | 100 km |  |  |  | 1 h | 2 h | 12 h | 1 h | 2 h | 4 h | 0.1 mm/h |  | 1 mm/h |

Table 2: Observational Requirements (Global NWP)

Platform sensor data are decoded, processed in geophysical units, quality controlled, encoded in WMO code formats and disseminated on the GTS in real time.

Before sending results onto the GTS any data processing center must automatically trap data from failed sensors, and other bad data, by:

1. comparing data with limits the platform operator has  supplied,

2. checking for gross errors,

3. compressing identical platform messages or sensor data from the same satellite pass,

4. using checksums or some equivalent process to check message integrity from platform to satellite and then from satellite to ground station

It is important that any GTS data processing centre allow the platform operator to stop transmission on the GTS via a simple mechanism, either for all observations from a platform or for individual sensor observations. It is also important that the operator can easily provide new calibration values at any time due to changes in the instrumentation (for instance on a mooring), biases or variability over time.

# DATA PROCESSING

A data processing center responsible for distributing buoy data on the GTS should:

- check of message quality, reception level, time-tagging, transmitter identification number, sensor message lengths and parameters for computing the location

- tag the observation time in universal time coordinated (UTC) and check that there are not unacceptable delays in receiving data (based on platform operators’ requirements);

- ensure messages are classified by platform and in chronological order;

- processing data into messages to be sent which involves;

- Decoding of the raw messages and processing of the sensor data;

- Decoding, or Computation (or interpolating) of initial locations;

- Storage of all these processing outputs in a database possibly accessible on-line.

The physical parameters measured by the platform need to be sampled at some frequency and (e.g. every few seconds) averaged to minimize errors resulting from motion and environmental variability. Sampling frequency will result from a compromise between electric power consumption, ideal frequency, and data quality. The desirable goal is at least a one-minute average on the measurements (10 minutes for wind data). If digital averaging techniques are used, a minimum of ten data samples should be used to obtain the average during the measurement period.

# Real Time Quality Control Checks

Automatic Quality Control checks should prevent bad or highly suspicious data going onto the GTS. Different tests may apply to different platforms or sensors, depending on platform operator requirements and the nature of the data collected.

The full set of tests that should be available at a data processing center disseminating data on the GTS, are as follows:

## Tests made for the whole observation

These tests are defined at the platform level.

### Managing duplicate times of observation

-

To avoid producing duplicates, or quasi duplicates (very close observation Times) two possible  solutions are available:

- Customisable rounding times should be defined for every observation from all sensors.

- Setting a duplicate tolerance, a number of seconds. If two observations for one platform are within the indicated value for "duplicate tolerance", then only the first processed observation is distributed on GTS. By default, the duplicate tolerance is set to zero which means that all observations are accepted. This field is defined at the platform level.

### Location

GTS distribution of the buoy location is required. There should be checks in place to isolate incorrect or empty locations so that they are not used as final observation locations. Locations such as (0,0) should be suppressed as well as (±180, ±90) or (0, ±90) and the previous good location used instead provided it’s not too old (i.e. for oceanographic purposes error should not exceed 500m taking the estimated maximum speed of the buoy into account).

In addition, the following procedures are applied:

(a)	Only the location with the highest probability of being correct is transmitted (i.e. the best location class);

(b)	When location processing is not performed during a satellite pass, the last known location is provided;

(c)	For drifting buoys, data with location more than 48 hours old are not transmitted via the GTS.

(d)	For moored buoys, data with location more than the age of the buoy since its deployment (or re-deployment) are not transmitted via the GTS.

Location quality class or index must be checked against acceptable limits provided by the platform operator. For oceanographic purposes, the location error should never exceed 500m in any direction; and 10km for meteorological purposes. The DBCP recommends always encoding the location quality class as part of the GTS reports.

### Multiplexing error (sending one observation in several messages)

This test rejects data when the defined format has not been recognized. This would occur if the case where one complete observation is sent through the satellite data telecommunications system over several messages using different formats (due to limited capacity of the telecommunications system).

.

### Land/Sea test

Checks whether the buoy is at sea using a 1°x1° resolution file. If the platform is on land then the observation is rejected.

### Temperature and/or Salinity profile Spike test

This test was introduced for the Argo programme initially. The test should fail if a data point (Depth, Temp., Sal.) value departs too much from nearby points after the profile was sorted out by decreasing depth (i.e. towards surface). Test is only applied to WATER TEMPERATURE (PROBE) and WATER SALINITY types of sensor.

In case either temperature and salinity sensor values are rejected then whole data point (Depth, Temp., Sal.) is rejected. The first and the last data point from the profile do not go through this test.

See the Argo quality control manual for details.

### Temperature and/or Salinity profile Gradient test

This test was introduced for the Argo programme initially.

Result is bad in case temperature or salinity gradient is too high once the profile is sorted out by decreasing values of depth (i.e. towards sea surface). This test is made only for WATER TEMPERATURE (PROBE) and WATER SALINITY types of sensor.

In case either temperature and salinity sensor values are rejected then the whole data point (Depth, Temp., Sal.) is rejected. The first and the last data point from the profile will not go through this test.

See the Argo quality control manual for details (references in Annex I).

### Temperature and/or Salinity profile Stuck value test

This test was introduced for the Argo programme initially.

This test should fail in the case where all values for the same type of sensor are identical along the profile. Test is only applied to WATER TEMPERATURE (PROBE) and WATER SALINITY types of sensor. In case either temperature and salinity sensor values are rejected then whole data point (Depth, Temp., Sal.) is rejected.

See the Argo quality control manual for details (references in Annex I).

### Temperature and/or Salinity profile Density test

This test was introduced for the Argo programme initially.

This test should fail in the case where water density decreases with increasing depth. In order to compute test result, potential temperature and density anomaly must be computed first for all profile data points after the points have been sorted out by decreasing depth (i.e. towards sea surface). Test is only applied to WATER TEMPERATURE (PROBE) and WATER SALINITY types of sensor.

All profile data points (Depth, Temp., Sal.) are rejected if this test fails. The first and last data points then do not go through this test.

See the Argo quality control manual for details (references in Annex I).

### Computation of salinity based upon conductivity, temperature, and

### depth

This test applies to the TAO moored buoy array.

It computes salinity based upon water conductivity (C), temperature (T), and depth (D) values as computed based on platform operator specifications. An alternative is documented in

EOS-80 “Practical Salinity Scale 1978 and International Equation of State of Seawater 1980”  and uses computed values of C, T, and D, to compute salinity prior to GTS encoding and distribution.

However, in June 2009 experts attending the 25th Assembly of UNESCO's Intergovernmental Oceanographic Commission (IOC) in Paris recommended through Resolution 7 to adopt the International Thermodynamic Equation of Seawater (TEOS-10) formulation that has been developed and recommended by the IAPSO/SCOR WG-127 to replace the existing EOS-80, as presented in the TEOS-10 Manual (see Annex I for references).

## Tests made for each individual sensor

These tests are defined at the sensor level. These checks should be optional, depending on the operator’s requirement.

### Gross Error Check

For each kind of geophysical variable, sensor data should be compared with constant limits. Out-of-range data are not sent onto the GTS. Note that limit values are considered as valid.

| Parameter | Lower limit | Upper limit |
| --- | --- | --- |
| Sea level air pressure (hPa) | 800 | 1080 |
| Station air pressure (hPa) | 400 | 1080 |
| Air pressure tendency (hPa/3H) | 0 | 100 |
| Water temperature (deg) | - 1.8 | + 45 |
| Air temperature (deg) | - 80 | + 50 |
| Wind speed (m/s) | 0 | 100 |
| Wind direction (deg) | 0 | 360 |

Table 3: Recommended gross error checks for typical marine variables

### User Limit check (or climatological test)

Each sensor measurement is compared with limits provided by the platform operator based on climatological data for the area where the platform is expected to be reporting from. Each sensor can have its own limits. Out-of-range data are not sent onto the GTS. Note that limit values are considered as valid.

Alternatively, the limits could be automatically extracted from a climatological file based upon the actual position of the platform at the time of reporting.

Marine climatology data can be requested from the International Comprehensive Ocean-Atmosphere Data Set (ICOADS). More details on ICOADS and how to access the data on its web site are available at: http://icoads.noaa.gov/products.html.

NOTE: 	Wind speed values which exceed 99 units (knots or m/s, as requested) and can be expressed in BUOY code (e.g. 99 knots) will be transmitted as 99.

### Checksums, CRCs

Checksum, or Cyclic Redundancy Checks (CRC, e.g. Hamming code) permit the validation of the transmission link between the platform, the satellite and the ground station. A bad checksum or CRC usually indicates that one or more bits in a string of contiguous bits from the data in the message were corrupted.

This test relies on the  platform computing the sum (or CRC) of some of the contiguous binary words in the message and encodes it into the message. Ideally, when the processing center receives and processes the messages, it should recalculate the same sum (or CRC) and compare it with the sum (or CRC) in the platform message. If the sums (or CRCs) then do not match, the part of the message in which the sum (or CRC) was computed would be rejected: as there were apparently one or more bit errors during transmission. The system would then not send the data onto the GTS.

Note: If the checksum is unavailable or if the platform’s message format does not provide one, the GTS processing center should be using compression index test as detailed below if appropriate.

### Compression Index

When transmission of identical raw messages is repeated through satellite data transmission (e.g. as is the case when using Argos-2), this duplication can be used to detect messages or part of messages that are free of bit errors. If messages are not repeated then checksums or CRCs should be used.

If a checksum (or CRC) is available and indicates that there are probably no bit errors then the compression index test can be ignored.

#### Compression by message (CIM)

The Compression Index by Message (CIM) is defined as the number of identical messages received from the platform during a given time slot; typically a satellite pass over the platform. Only raw messages with CIM ≥ 2 are kept for further decoding and data processing.

For the transmission period considered (typically a satellite pass over a platform), the operator should be able to choose between the following options:

(i) Keep only the raw message with the highest compression index for further decoding and data processing. CIS as described below is forced to the value of CIM.

or

(ii) Keep all the messages so that full sensor compression (CIS) can be

applied (see below).

#### Compression by sensor (CIS)

Similarly, the Compression Index by Sensor (CIS) is defined as the number of identical binary words (a binary word representing a sensor value measured at the same time, and at the same depth, and always coded in the same position in the raw message) from a set of raw messages received from the platform during a given time slot; typically a satellite pass over the platform.

The sensor measurements with the highest CIS are stored and sent onto the GTS. Only raw messages with CIS ≥ 2 are distributed on GTS.

It is important to note that, at present as an example, the Argos software requires verification in the form of at least two identical sensor values (not necessarily consecutive; in addition, whole Argos messages don't have to be identical) from a PTT during a satellite overpass before those observations will be put on the GTS (unless other techniques such as checksums are used). This is conveniently achieved by averaging the sensor data for a few minutes prior to transmission.

### Level rejected by QC

If a level is associated to a sensor (i.e. a depth or a height), and that level is also encoded in the raw satellite message, the level will first be treated as a normal sensor and quality control checks applied. If the level fails quality control checks then all the sensors making reference to this level should also be rejected (e.g. a water temperature measurement would be rejected if its corresponding depth – also coded in the raw satellite message – has failed the QC tests).

### All bits identical test

If appropriate, data should be automatically removed from GTS distribution if all the bits in the sensor word are ones or zeros. This needs to be a setting for each platform. (this is generally not applied to Wind Speed, Wind Direction or Air Pressure Tendency).

### Sensor blockage test

If the reported sensor data have the same value consecutively, a certain number of times during a user-definable period or number of identical values, then data should be automatically removed from GTS distribution. This test is usually applied to Air Pressure sensors.

### Bad associated compensating sensor

If a compensating sensor is associated to a sensor (e.g. air pressure sensor compensated using a temperature sensor), and that compensating sensor is also encoded in the raw satellite message, the compensating sensor will first be treated as a normal sensor and appropriate quality control checks applied. If the compensating sensor fails quality control checks then all the sensors making reference to this compensating sensot should also be rejected (e.g. air pressure will be rejected if its compensating temperature sensor – also coded in the raw satellite message – has failed the QC tests).

# ON-LINE ACCESS TO DATA

## Satellite Telecommunications Service provider

It is expected that all data processing centers would provide a way for platform operators to view their own data (and perhaps copies of other operators’ data) online.

## Over the Global Telecommunication System (GTS)

Real time access to GTS buoy data requires the data user to be connected in some way (generally via a National Meteorological or Hydrological Organisation) to a GTS downlink Node.

Data processing centers should encourage buoy operators to share all data on the GTS or at least Sea Surface Temperature and Air Pressure measurements. For more information about the benefits of sharing data see the reference in Annex 1.

## Data Archival Centres

Alternatively data can be accessed via global data archives and data centres, for example:

- Responsible National Oceanographic Data Centre for Drifting Buoys (RNODC/DB) operated by the Integrated Science Data Management (ISDM), Canada: www.meds-sdmm.dfo-mpo.gc.ca

- The Global Drifter Programme (GDP) Data Assembly Centre operated by the NOAA Atlantic Oceanographic and Meteorological Laboratory (AOML): http://www.aoml.noaa.gov/phod/dac/dacdata.html

- Tropical Moored Buoy array data: http://www.pmel.noaa.gov/tao/

- NOAA National Oceanographic Data Center, USA: www.nodc.noaa.gov

- Global Temperature-Salinity Profile Program http://www.nodc.noaa.gov/GTSPP/gtspp-home.html

- International Oceanographic Data and Information Exchange (IODE) Ocean Data Portal (ODP): http://www.oceandataportal.org/

- CORIOLIS France http://www.coriolis.eu.org/

# DELAYED MODE QUALITY CONTROL GUIDELINES

The primary responsibility for data quality control lies with the owner of the platform from which the observation originates. In many cases this will be a national meteorological service, an oceanographic institute or a principle investigator for a particular research project (In this last case often acting on behalf of the legal owner ). It is especially important that data entered on the GTS in real-time are automatically quality controlled by the originator of the observation as detailed in the paragraphs above. To detect errors which may escape national quality control systems and errors introduced subsequently, national meteorological services should ensure that Regional Meteorological Centres (RMCs) and World Meteorological Centres (WMCs) also carry out appropriate quality control of observational data they receive.

Delayed Mode Quality Control Guidelines were implemented by the DBCP in January 1992 (see Annex I for references).

Principal Meteorological or Oceanographic Centres (PMOC) responsible for Quality Control of GTS buoy data (i.e. mainly meteorological centres assimilating the data in Numerical Weather Forecasting models) detect any buoys reporting erroneous or biased data onto the GTS (e.g. by making statiscal comparisons with the model analysis and/or first guess field). Hence, PMOCs are in a position to regularly propose changes to functional status of data buoys (e.g. removing data from a particular buoy or sensor from GTS distribution, or recalibrating a biased sensor) via an Internet distribution system to cooperating individuals and relevant services in charge of the buoy operations and data distribution. The QC Guidelines considerably shorten the time needed to fix problems.

The following centres are presently contributing to the DBCP Quality Control Guidelines:

- Météo France and E-SURFMAR participants

- The Australian Bureau of Meteorology (BOM),

- The European Centre for Medium-Range Weather Forecasts (ECMWF),

- The Meteorological Service of New Zealand, Ltd. (MSNZ),

- The NOAA National Data Buoy Center (NDBC), and the National Center for Environmental Prediction (NCEP)

- The United Kingdom Meteorological Office.

- GHRSST Scientific Steering Team members.

# ANNEX I:	Useful weblinks, and references

- Argos system users manual - http://www.argos-system.org/manual/

- JCOMM http://www.jcomm.info

- WMO / JCOMM Publications http://www.wmo.int/pages/prog/amp/mmop/publications.html

- Intergovernmental Oceanographic Commission of UNESCO, http://www.ioc-unesco.org

- Global Observing System (GOS) http://www.wmo.int/pages/prog/www/OSY/GOS.html  of the World Weather Watch (WWW) of WMO (www.wmo.int)  and the World Climate Research Programme (WCRP)

- Rules for allocating WMO Identification Numbers to Ocean Observing platforms: http://www.wmo.int/pages/prog/amp/mmop/wmo-number-rules.html

- DBCP Technical Document No. 2, Reference Guide to the GTS Sub-system of the Argos Processing System

http://www.wmo.int/pages/prog/amp/mmop/publications.html#DBCP

- DBCP Technical Document No. 3, Guide to Data Collection and Location Services using Service Argoshttp://www.wmo.int/pages/prog/amp/mmop/publications.html#DBCP

- DBCP delayed mode quality control guidelines, http://www.jcommops.org/dbcp/doc/qc/DBCP_QC_guidelines.pdf

- Benefits of sharing data on the GTS of WMO: : http://www.jcommops.org/dbcp/doc/GTS_information.pdf.

- Argo Float Quality control documents

http://www.jcommops.org/FTPRoot/Argo/doc/argo-quality-control-manual.pdf

http://www.jcommops.org/FTPRoot/Argo/doc/argo_standard_tests.pdf

- WMO No. 306, Manual on codes

http://www.wmo.int/pages/prog/www/WMOCodes/ManualCodesGuides.html

- WMO No. 386, Manual on the Global Telecommunication System

http://www.wmo.int/pages/prog/www/TEM/GTS/ManOnGTS_en.html

- BUFR encoding and decoding software

http://www.wmo.int/pages/prog/www/cbs-software-exchange/introduction.html

- Resolution 7 (IOC Assembly XXV, 2009), International Thermodynamic Equation of Seawater (TEOS-10)

http://www.ioc-unesco.org/index.php?option=com_oe&task=viewDocumentRecord&docID=4027

Calculation of the thermodynamic properties of sea water, McDougall et al, 8 Feb 2009:

http://www.ioc-unesco.org/index.php?option=com_oe&task=viewDocumentRecord&docID=3938

# ANNEX II:	Contacts

Mr David MELDRUM (Chairperson, DBCP) 
Leader of Technology Development, DBCP chair
Scottish Association for Marine Science
Dunstaffnage Marine Laboratory
Dunbeg
Oban, Scotland
PA37 1QA
United Kingdom
Tel: +44 1631 559 273
Fax: +44 1631 559 001
Email: dtm@sams.ac.uk

Ms Hester VIOLA (Technical Coordinator, DBCP) 
DBCP Technical coordinator and OceanSITES Project Office
JCOMMOPS
8-10 rue Hermès
Parc Technologique du Canal
31526 Ramonville St Agne
France
Tel: +33 5 61 39 47 82
Fax: +33 5 61 75 10 14
Email: viola@jcommops.org

Ms Boram LEE 
Programme Specialist
Intergovernmental Oceanographic Commission of UNESCO
1 rue Miollis
75732 Paris cedex 15
France
Tel: +33 1 45 68 39 88
Fax: +33 1 45 68 58 12
Email: b.lee@unesco.org

Mr Etienne CHARPENTIER (WMO rep.) 
Observing and Information Systems Department
Observing Systems Division
World Meteorological Organization

7bis, avenue de la Paix
Case Postale 2300
CH-1211 Genève 2
Switzerland
Tel:+41 22 730 82 23

Fax: +41 22 730 81 28
Email: echarpentier@wmo.int

Also see

- National Focal Points for buoy programs

- DBCP Executive Board

# ANNEX III:	Acronyms

ACRONYM LIST

ABE-LOS  IOC Advisory Body on the Law of the Sea

ADOS  Autonomous Drifting Ocean Station

ADS  Automatic Distribution System (Argos)

AG  DBCP Action Groups

AIC  Argo Information Center

ALD  Appointment of Limited Duration

AMDAR  Aircraft Meteorological Data Relay (WWW)

ANIMATE  Atlantic Network of Interdisciplinary Moorings and Time-series for Europe

AOML  NOAA Atlantic Oceanographic and Meteorological Laboratory (USA)

Argo  Argo Profiling Float Pilot Project

AST  Argo Steering Team

ATF  Acoustic Tank Facility

BOM  Bureau of Meteorology (Australia)

BPPT  Agency for the Assessment and Application of Technology (Indonesia)

BUFR  Binary Universal Form for Representation of meteorological data

CB  Capacity Building

CBS  Commission for Basic Systems (WMO)

CIS  Central Irminger Sea

CLIMOD E   CLIVAR Mode Water Dynamics Experiment

CLIVAR   Climate Variability and Predictability (WCRP)

CLS   Collecte Localisation Satellites (France)

CNES   Centre national d'études spatiales (France)

CORC   Consortium on the Oceans Role in Climate

DAMOCLES   Developing Arctic Modelling and Observing Capabilities for Long-term Environmental Studies (European joint project)

DAR   Data Discovery, Access and Retrieval service (WMO WIS)

DART   Deep-ocean Assessment and Reporting of Tsunami (buoy)

DBCP   Data Buoy Co-operation Panel (WMO-IOC)

DB-TAG   E-SURFMAR Data Buoy Technical Advisory Group

DCPC   Data Collection and Production Centres (WMO WIS)

DCS   Data Collection System

DMCG   Data Management Coordination Group (JCOMM)

DPM   Natural Disaster Prevention and Mitigation Programme (WMO)

E2EDM   End-to-End Data Management (JCOMM Pilot Project)

EB   DBCP Executive Board

EBD   Equivalent Buoy Density

ECMWF  European Centre for Medium-Range Weather Forecasts

EEZ   Exclusive Economic Zone

EMC   NOAA’s Environmental Modelling Center (USA)

ER   Expected Result

E-SURFMAR   Surface Marine programme of the Network of European Meteorological Services, EUMETNET

ET/AWS   CBS/IOS Expert Team on Requirements for Data from Automatic Weather Stations (WMO)

ET/DRC   CBS Expert Team on Data Representation and Codes (WMO)

ET/EGOS   CBS/IOS Expert Team on the Evolution of the Global Observing System (WMO)

ETDMP   Expert Team on Data Management Practices (JCOMM)

ETMC   Expert Team on Marine Climatology (JCOMM)

ETSI   Expert Team on Sea Ice (JCOMM)

ETWS   Expert Team on Wind Waves and Storm Surge (JCOMM)

EUCOS   EUMETNET Composite Observing System

EUMETNET   Network of European Meteorological Services

EUMETSAT   European Organization for the Exploitation of Meteorological Satellites

EuroSITES   European integrated network of open ocean multidisciplinary observatories

GCOS   Global Climate Observing System

GDAC   Global Data Access Centre

GDP   Global Drifter Programme

GEO   Group on Earth Observations

GEOSS   Global Earth Observation System of Systems

GHRSST    GODAE High Resolution SST Pilot Project

GIS   Geographical Information System

GISC   Global Information System Centres (WMO WIS)

GLOSS   Global Sea-level Observing System (JCOMM)

GLOSS-GE   GLOSS Group of Experts

GMDSS   Global Maritime Distress and Safety System (IMO)

GODAE   Global Ocean Data Assimilation Experiment (GOOS)

GOOS   Global Ocean Observing System

GOSUD   Global Ocean Surface Underway Data

GPS   Global Positioning System

GSSC GOOS Scientific Steering Committee

GTOS Global Terrestrial Observing System (WMO, UNESCO, FAO, UNEP, ICSU)

GTS Global Telecommunication System (WWW)

GTSPP Global Temperature-Salinity Pilot Project / Profile Programme

HOT Hawaii Ocean Timeseries

HWRF Hurricane Weather Research and Forecast model system (USA)

IABP International Arctic Buoy Programme

IATTC Inter-American Tropical Tuna Commission (IATTC)

IBPIO International Buoy Programme for the Indian Ocean

ICCAT International Commission for the Conservation of Atlantic Tuna

ICG/IOTWS Intergovernmental Coordination Group for the Indian Ocean Tsunami Warning and Mitigation System (IOC)

ICG/PTWS Intergovernmental Coordination Group for the Pacific Ocean Tsunami Warning and Mitigation System (IOC)

ICSU International Council for Science

ICTT-QMF Inter Commission Task Team on Quality Management Framework

IFREMER French Research Institute for Exploitation of the Sea

IGDDS Integrated Global Data Dissemination Service (satellite)

I-GOOS The intergovernmental IOC-WMO-UNEP Committee for GOOS

IHO International Hydrographic Organization

IJPS Initial Joint Polar-Orbiting Operational Satellite System (NOAA, EUMETSAT)

IMB Ice Mass Balance

IMEI Iridium Unique Modem identification number

IMO International Maritime Organization

INPE Instituto Nacional de Pesquisas Espaciais (Brazil)

IOC Intergovernmental Oceanographic Commission (of UNESCO)

IOCCP International Ocean Carbon Coordination Project

IODE International Oceanographic Data and Information Exchange (IOC)

IOOS Integrated Ocean Observing System (USA)

IOTC Indian Ocean Tuna Commission

IPAB WCRP-SCAR International Programme for Antarctic Buoys

IPY International Polar Year (2007-2008)

IRD Institut de recherche pour le développement (France)

ISABP International South Atlantic Buoy Programme

ISDM Integrated Science Data Management (formerly MEDS)

ISO International Organization for Standardization

IT Information Technology

ITP International Tsunameter Partnership

JCOMM Joint WMO-IOC Technical Commission for Oceanography and Marine Meteorology

JCOMMOPS JCOMM in situ Observing Platform Support Centre

JCOPE Japanese Coastal Ocean Predictability Experiment

JTA Joint Tariff Agreement (Argos)

KEO Kuroshio extension region

KMA Korea Meteorological Administration

KML Keyhole Mark-up Language (GoogleEarth file format)

LUT Local User Terminal (Argos)

MAN JCOMM Management Committee

MCSS Marine Climatological Summaries Scheme

MEDS Marine Environmental Data Service (Canada, now ISDM)

MERSEA Marine Environment and Security for the European Area

META-T Pilot Project for the Collection of Real-time Metadata regarding Sea Surface Temperature and Water Temperature Profile data (JCOMM)

METOP Meteorological Operational satellites of the EUMETSAT Polar System (EPS)

MFS Mediterranean ocean Forecasting System

MOU Memorandum of Understanding

MSS Maritime Safety Services

NAVOCEANO Naval Oceanographic Office (USA)

NC National Centres (WMO WIS)

NCDC NOAA’s National Climate Data Center (USA)

NCEP NOAA National Center for Environmental Prediction (USA)

NDBC NOAA National Data Buoy Center (USA)

NESDIS NOAA National Environmental Satellite Data and Information Service (USA)

NFRDI National Fisheries Research and Development Institute

NIOT National Institute of Ocean Technology (India)

NMDIS National Marine Data and Information Service (China)

NMHS National Meteorological and Hydrological Service

NOAA National Oceanic and Atmospheric Administration (USA)

NOCS National Oceanography Center Southampton (UK)

NORI National Oceanographic Research Institute (Rep. Korea)

NPDBAP North Pacific Data Buoy Advisory Panel

NPOESS National Polar-orbiting Operational Environmental Satellite System (USA)

NSF National Science Foundation (USA)

NWP Numerical Weather Prediction

OceanSITES OCEAN Sustained Interdisciplinary Timeseries Environment observation System

OCG Observations Coordination Group (JCOMM)

OCO NOAA Office of Climate Observation (USA)

ODAS Ocean Data Acquisition Systems

ODINAFRICA Ocean Data and Information Network for Africa (IODE)

OGP Oil and Gas Producers

OOPC Ocean Observations Panel for Climate (GCOS-GOOS-WCRP)

OPA Observations Programme Area (JCOMM)

OPSC Observing Programme Support Centre

OPSCOMM Argos Operations Committee

ORION US/NSF Ocean Research Interactive Observatory Networks project

OSMC NOAA Observing System Monitoring Center (USA)

PA Programme Area (JCOMM)

PANGEA Partnerships for New GEOSS Applications

PAPA Programme for a Baltic network to assess and upgrade an operational observing and forecasting System in the region (EU project)

PDE Puertos Del Estado (Spain)

PGC Principal GTS Co-ordinator (DBCP)

PICES North Pacific Marine Science Organization

PICO Panel for Integrated Coastal Observations

PIRATA Pilot Research Moored Array in the Tropical Atlantic

PMEL NOAA Pacific Marine Environmental Laboratory (USA)

PMO Port Meteorological Officer

PMOC Principal Meteorological or Oceanographic Centres responsible for quality control of buoy data (DBCP)

PMT Platform Messaging Transceivers

POGO Partnership for Observation of the Global Oceans

POPS Polar Ocean Profiling System

PTT Platform Transmitter Terminal (Argos)

QA Quality Assurance

QC Quality Control

QMF WMO Quality Management Framework

RMS Root Mean Square

RNODC Responsible Oceanographic Data Centre (IODE)

RNODC/DB RNODC for Drifting Buoys

ROOS Regional Ocean Observing Systems

RRR Rolling Review of Requirements

SAMS Scottish Association for Marine Science

SAT Site Acceptance Test

SAWS South African Weather Service

SBD Short Burst Data

SCD Satélite de Coleta de Dados (Data Collection Satellite, Brazil)

SCG Services Coordination Group (JCOMM)

SCOR Scientific Committee on Oceanic Research (ICSU)

SEACORM South East Asia Center for Ocean Research and Monitoring (Republic of Indonesia)

SeaDataNET Pan-European infrastructure for Ocean & Marine Data Management

SHOM Service Hydrographique et Océanographique de la Marine (France)

SIMORC System of Industry Metocean data for the Offshore and Research Communities

SIO Scripps Institution of Oceanography (University of California, USA)

SOBP Southern Ocean Buoy Programme

SOC Specialized Oceanographic Centre (JCOMM)

SOOP Ship-of-Opportunity Programme

SOOPIP SOOP Implementation Panel (JCOMM)

SOT Ship Observations Team (JCOMM)

SPA JCOMM Services Programme Area

SST Sea Surface Temperature

STIP Stored Tiros Information Processing

SVP Surface Velocity Programme (of TOGA and WOCE, replaced by GDP) drifter

SVP-B SVP Abarometer at a drifter

SVP-BS SVP drifter with salinity

SVP-BTC SVP drifter with temperatures in depth

SVP-BW SVP Abarometer and wind at a drifter

TAO Tropical Atmosphere Ocean Array

TC Technical Coordinator

TIP Tiros Information Processing

TIP Tropical Moored Buoys Implementation Panel

TOWS-WG Working Group on Tsunamis and Other Hazards related to Sea Level Warning and Mitigation Systems

TRITON Triangle Trans-Ocean buoy network

TSG ThermoSalinoGraph

TT/CB DBCP Task Team on Capacity Building

TT/DM DBCP Task Team on Data Management

TT/MB DBCP Task Team on Moored Buoys

TT/ IBPDTD DBCP Task Team on Instrument Best Practices and Drifter Technology Developments

UNESCO United Nations Educational, Scientific and Cultural Organization

UNOLS University National Oceanographic Laboratory System (USA)

URL Uniform Resource Locator

VOS Voluntary Observing Ship (JCOMM)

WCRP World Climate Research Programme

WIS WMO Information System

WMO World Meteorological Organization (UN)

WMS Open Geospatial Consortium Web Map Services

WWW World Weather Watch (WMO)

XBT Expendable BathyThermograph

The “threshold” is the absolute minimum requirement, i.e. the requirement level below which data have no significant impact on the application; the “goal” is the ideal requirement above which data do not bring any additional value to the application; the “breakthrough” level is an intermediate value between “threshold” and “goal“ which, if achieved, would result in a significant improvement for the targeted application.  The breakthrough level is expected to be more appropriate than the “goal” from a cost-benefit point of view.